## Pump Selection Checklist
Category | Checklist Item | Checked (TRUE/FALSE) | Notes
Project Requirements | Project type and scale clearly defined
Project Requirements | Pump role in system identified (main / auxiliary / backup)
Fluid Analysis | Type of fluid confirmed (water / industrial water / non-corrosive)
Fluid Analysis | Fluid temperature range evaluated
Flow Rate | Required nominal flow rate calculated
Flow Rate | Peak flow rate considered
Head & Transfer | Total dynamic head calculated
Head & Transfer | Pipeline losses included
Suction Conditions | Actual suction height verified
Suction Conditions | Self-priming requirement confirmed
Environment | Ambient temperature assessed
Environment | Dust / humidity exposure evaluated
Power Supply | Available power type confirmed (single/three phase)
Power Supply | Motor power matched to site infrastructure
Installation | Foundation and space availability verified
Installation | Future expansion possibility evaluated
Reliability | Operational risk of downtime assessed
Reliability | Pump redundancy strategy considered
Maintenance | Spare parts availability confirmed
Maintenance | Maintenance skill level assessed
Economic Analysis | Initial purchase cost approved
Economic Analysis | Total cost of ownership evaluated
Tender & Contract | Compliance with tender specifications confirmed
Final Decision | Pump technically approved
Final Decision | Pump economically approved